## Hauptliste
Catalog Senvion - Auction 07.12.2020 Large components for wind turbines
Pos | Standort | Anz | Bez | Fabrikat | Typ | Bj | Beschr
12172 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Danger beacon | Enertrag | pro2000 |  | best: fire lamp, distributor box, type TF SE
12173 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Danger beacon | Enertrag | pro2000 |  | best: fire lamp, distributor box, type TF SE
12174 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Danger beacon | Enertrag | pro2000 |  | best: fire lamp, note: without distribution box
12175 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Mixed pallet |  |  |  | consisting of: 5 splice boxes, make Telegärtner, type FO Mini Wall Distributor, 24x SC Duplex including pigtails E9/125 OS2, 1 lot hexagonal screws M10, material V4A, 1 lot hexagonal nuts, type BM16x1.5, approx. 600 pcs, 1 lot washers, steel/galvanized, UPS, type Mini Trio UPS 24V DC/5A, 101 pcs Roxtec Modules, type Ratings 1,2 3,35, 3R, 4X, 5, 12+13, 1 lot nuts f. PE glands, cable terminations, self-locking nuts, battery, make Phoenix Contact, type 7.2 Ah/24 V
20027 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Low voltage distribution system | SSB Windsystems | Low Voltatic Distribution 60 Hz | 2018 | Ser. no. G8-16 221 0, suitable for Wind turbine type 3.XM EBC 60 Hz
20028 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Top Box 3.XM EBC 60 Hz | SSB Wind System | Top Box 50/60 Hz | 2018 | Ser. no. G8-16 087 3, suitable for Wind turbine type 3.XM EBC 60 Hz
20029 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Base Box 60 Hz 3.XM EBC | SSB Wind Systems | Base Box 60 Hz | 2018 | Serial No. G8-16 221 1, suitable for wind turbine type 3.XM EBC 60 Hz
20031 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Low voltage distribution 3.XM EBC | SSB Wind Systems |  | 2019 | Ser. no. G8-164703, matching f. wind turbine type 3.XM EBC 50 Hz
20032 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Low voltage distribution 3.XM EBC | SSB Wind Systems |  | 2019 | Ser. no. G8-164719, matching f. wind turbine type 3.XM EBC 50 Hz
20033 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Low voltage distribution 3.XM EBC | SSB Wind Systems |  | 2019 | Ser. No. G8-164721, matching f. wind turbine type 3.XM EBC 50 Hz
20034 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Top Box 3.XM EBC | SSB Wind Systems | Top Box 50 Hz | 2018 | Ser. no. G8-164740
20035 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Top Box 3.XM EBC | SSB Wind Systems | Top Box 50 Hz | 2018 | Ser. no. G8-166456
20036 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Top Box 3.XM EBC 60 Hz | SSB Wind System | Top Box 50/60 Hz | 2018 | Ser. no. G8-16 2209, suitable for f. wind turbine type 3.XM EBC 60 Hz
20037 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Top Box 3.XM EBC | SSB Wind Systems | Top Box 50 Hz | 2018 | Serial No. G8-164754, Note: Error message no communication between Top Box and ground box, switch removed
20038 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Top Box 3.XM EBC | SSB Wind Systems | Top Box 50 Hz | 2018 | ser. no. G8-164742, note: SLC284 module defective
20039 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Low voltage distribution 3.XM EBC | SSB Wind Systems |  | 2019 | Ser. no. G8-164735, matching f. wind turbine type 3.XM EBC 50 Hz
20040 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Low voltage distribution 3.XM EBC | SSB Wind Systems |  | 2019 | Ser. no. G8-160785, suitable f. wind turbine type 3.XM EBC 50 Hz
20041 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Base Box 60 Hz 3.XM EBC | SSB Wind Systems | Base Box 60 Hz | 2018 | Serial No. G8-16 0874, suitable for wind turbine type 3.XM EBC 60 Hz
20043 | 27572 Bremerhaven, Seewindstr. 4; | 1 | ComBox 3.XM | Zoller | ComBox Basis 230 V IEC | 2018 | fitting f. Wind turbine type 3.XM
20044 | 27572 Bremerhaven, Seewindstr. 4; | 1 | ComBox 3.XM | Zoller | ComBox Basis 230 V IEC | 2018 | fitting f. Wind turbine type 3.XM
20047 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Power Management Unit 3.XM | SSB Wind Systems |  | 2018 | Ser. no. G8-171619, suitable for f. wind turbine type 3.XM 50 Hz
20053 | 27572 Bremerhaven, Seewindstr. 4; | 1 Satz | Rotor shaft 3.4 M 140 EBC | Walzengießerei Coswig | 1250 |  | Order no. 2170595, ser. no. T16-25-25, production no. 181185, 2,020 x 3,874 mm, material EN-GJS-400-18U-LT, weight 15,530 kg, labyrinth ring on rotor side, casing cover on gearbox side, casing cover on rotor side, rotor bearing housing, rotor locking disc
20054 | 27572 Bremerhaven, Seewindstr. 4; | 1 Satz | Rotor shaft 3.4 M 140 EBC | Walzengießerei Coswig | 1250 |  | Order no. 2170595, ser. no. T16-25-25, production no. 173498, 2,020 x 3,874 mm, material EN-GJS-400-18U-LT, weight 15,530 kg, labyrinth ring on rotor side, casing cover on gearbox side, casing cover on rotor side, rotor bearing housing, rotor locking disc
20055 | 27572 Bremerhaven, Seewindstr. 4; | 1 Satz | Rotor shaft 3.4 M 140 EBC | Walzengießerei Coswig | 1250 |  | Order no. 2170595, ser. no. T16-25-25, production no. 181513044, 2,020 x 3,874 mm, material EN-GJS-400-18U-LT, weight 15,530 kg, labyrinth ring on rotor side, casing cover on gearbox side, casing cover on rotor side, rotor bearing casing, rotor locking disc
20056 | 27572 Bremerhaven, Seewindstr. 4; | 1 Satz | Rotor shaft 3.4 M 140 EBC | Walzengießerei Coswig | 1250 |  | Order No. 2170595, serial No. T16-25-25, production No. 181436, 2,020 x 3,874 mm, material EN-GJS-400-18U-LT, weight 15,530 kg, labyrinth ring on rotor side, casing cover on gearbox side, casing cover on rotor side, rotor bearing casing, locking disc rotor, spherical roller bearing, Schaeffler make, serial No. 001-5753758
20057 | 27572 Bremerhaven, Seewindstr. 4; | 1 Satz | Rotor shaft 3.XM Difig NES |  |  |  | consisting of rotor shaft, rotor bearing housing, rotor lock washer, shaft nuts
20058 | 27572 Bremerhaven, Seewindstr. 4; | 1 Satz | Rotor shaft 3.XM Difig NES |  |  |  | consisting of rotor shaft, rotor lock washer, shaft nuts
20059 | 27572 Bremerhaven, Seewindstr. 4; | 1 Satz | Rotor shaft 3.XM Difig NES |  |  |  | consisting of rotor shaft, rotor lock washer, shaft nuts
20060 | 27572 Bremerhaven, Seewindstr. 4; | 1 Satz | Rotor shaft 3.XM Difig NES |  |  |  | consisting of rotor shaft, rotor lock washer, shaft nuts
20061 | 27572 Bremerhaven, Seewindstr. 4; | 1 Satz | Rotor shaft 3.XM Difig NES |  |  |  | consisting of rotor shaft, rotor lock washer, shaft nuts
20062 | 27572 Bremerhaven, Seewindstr. 4; | 1 Satz | Rotor shaft 3.XM EBC |  |  |  | best: Rotor shaft, type 240/1250 (FAG), spherical roller bearing, Schaeffler make, ser. no. 001-5753968
20064 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Rotor bearing housing 3.XM EBC
20065 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Rotor bearing housing 3.XM EBC
20066 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Rotor bearing housing 3.XM EBC
20067 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Rotor bearing housing 3.XM EBC
20068 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Rotor bearing housing 3.XM EBC
20069 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Rotor bearing housing 3.XM EBC
20070 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Rotor bearing housing 3.XM EBC
20071 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Rotor bearing housing 3.XM EBC
20072 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Rotor bearing housing 3.XM EBC
20073 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Rotor bearing housing 3.XM EBC
20074 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Mounting kit rotor shaft 3.XM EBC |  |  |  | best: labyrinth ring, rotor side, casing cover, gear side, casing cover, rotor side
20075 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Mounting kit rotor shaft 3.XM EBC |  |  |  | best: labyrinth ring, rotor side, casing cover, gear side, casing cover, rotor side
20076 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Mounting kit rotor shaft 3.XM EBC |  |  |  | best: labyrinth ring, rotor side, casing cover, gear side, casing cover, rotor side
20077 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Mounting kit rotor shaft 3.XM EBC |  |  |  | best: labyrinth ring, rotor side, casing cover, gear side, casing cover, rotor side
20078 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Mounting kit rotor shaft 3.XM EBC |  |  |  | best: labyrinth ring, rotor side, casing cover, gear side, casing cover, rotor side
20079 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Mounting kit rotor shaft 3.XM EBC |  |  |  | best: labyrinth ring, rotor side, casing cover, gear side, casing cover, rotor side
20080 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Mounting kit rotor shaft 3.XM EBC |  |  |  | best: labyrinth ring, rotor side, casing cover, gear side, casing cover, rotor side
20081 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Mounting kit rotor shaft 3.XM EBC |  |  |  | best: labyrinth ring, rotor side, casing cover, gear side, casing cover, rotor side
20082 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Mounting kit rotor shaft 3.XM EBC |  |  |  | best: labyrinth ring, rotor side, casing cover, gear side, casing cover, rotor side
20083 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Mounting kit rotor shaft 3.XM EBC |  |  |  | best: labyrinth ring, rotor side, casing cover, gear side, casing cover, rotor side
20084 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Labyrinth ring shaft nut 3.XM EBC |  |  |  | on the gear side
20085 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Labyrinth ring shaft nut 3.XM EBC |  |  |  | on the gear side
20086 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Labyrinth ring shaft nut 3.XM EBC |  |  |  | on the gear side
20087 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Labyrinth ring shaft nut 3.XM EBC |  |  |  | on the gear side
20088 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Labyrinth ring shaft nut 3.XM EBC |  |  |  | on the gear side
20089 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Labyrinth ring shaft nut 3.XM EBC
20090 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Labyrinth ring shaft nut 3.XM EBC |  |  |  | on the gear side
20091 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Generator 3.XM EBC | CRRC | FYS02-B |  | Dec. 2018, serial no. HW20180065, power 40,070 kW, 750 V, 3,353 A, 520 - 2,056 rpm, 3 phases, protection class IP54, frequency 49.065 Hz/ 60 Hz, GG 11,950 kg
20099 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Locking disc rotor 3.XM NES/DIFIG
20100 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Locking disc rotor 3.XM NES/DIFIG
20101 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Locking disc rotor 3.XM NES/DIFIG
20102 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Locking disc rotor 3.XM NES/DIFIG
20103 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Locking disc Rotor MD
20105 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Alignment disc 3.XM EBC
20106 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Alignment disc 3.XM EBC
20107 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Alignment disc 3.XM EBC
20108 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Alignment disc 3.XM EBC
20109 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Alignment disc 3.XM EBC
20110 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Alignment disc 3.XM EBC
20111 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Alignment disc 3.XM EBC
20112 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Alignment disc 3.XM EBC
20113 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Alignment disc 3.XM EBC
20114 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Alignment disc 3.XM EBC
20160 | 27572 Bremerhaven, Seewindstr. 4/ Freigelände; | 1 | Cowling hub 3.XM | Großmann Kunststofftechnik |  |  | year 2018/2019, ser. no. 2018/1022, material no. 41150, equipment no. 20980478, colour white natural (without spinner transport rack)
20160/1 | 27572 Bremerhaven, Seewindstr. 4/ Freigelände; | 1 | Spinner transport frame 3.XM |  |  |  | ID no. 509811-43485-0001, year of construction 2014, empty weight 1,050 kg, load capacity 500 kg, 3-part, with forklift bracket
20161 | 27572 Bremerhaven, Seewindstr. 4/ Freigelände; | 1 | Cowling hub 3.XM | Großmann Kunststofftechnik |  |  | year 2018/2019, ser. no. 2018/1021, material no. 41150, equipment no. 20980477, colour white natural (without spinner transport rack)
20161/1 | 27572 Bremerhaven, Seewindstr. 4/ Freigelände; | 1 | Spinner transport frame 3.XM |  |  | 2014 | Ident. no. 509811-43485-054, empty weight 1,050 kg, load capacity 500 kg, 3-part, with forklift bracket
20162 | 27572 Bremerhaven, Seewindstr. 4/ Freigelände; | 1 | Cowling hub 3.XM | Großmann Kunststofftechnik |  |  | year 2018/2019, ser. no. 2018/1020, material no. 41150, equipment no. 20980476, colour white natural (without spinner transport rack)
20162/1 | 27572 Bremerhaven, Seewindstr. 4/ Freigelände; | 1 | Spinner transport frame 3.XM |  |  | 2014 | Ident. no. 509811-43485-050, empty weight 1,050 kg, load capacity 500 kg, 3-part, with forklift bracket